The following items shall be included with the final Certificate for Payment.  All documents listed below shall be provided on duplicate thumb drives.

- _____ 	Contractor’s Guarantee (format as shown in specifications and on contractor’s 	letterhead). The guarantee shall be for the period of one year from the date of Final 	Substantial Completion.

- _____ 	Certified list of subcontractors and material suppliers (notarized)

- _____ 	Waivers of Claim for Contractor (notarized)

- _____ 	Consent of Surety to Final Payment for the Contractor (AIA G707)

- _____ 	Punch List Completion Certificate signed by Principal, Project Architect/Engineer, 	Contractor, Facilities Design & Construction office and signed off punch list

- _____ 	Letter certifying payment of all applicable taxes by general contractor

- _____ 	Assignment of Antitrust Claims

- _____ 	Certificate of Insurance with letter certifying insurance will remain in force

- _____ 	Absence of Asbestos Friable Materials Certification for roof, plumbing, mechanical, and 	electrical

- _____	Specifications and Record drawings “As-Built” files shall include: one electronic copy in 	Auto CAD and one electronic copy in PDF.  Both PDF and Auto CAD individual files shall	be named as per the contract documents index.

- _____	Florida Inventory School House (FISH) drawings (provided by designer)

- _____	One copy of the following certifications:

  - Deluge System

  - Fire Protection System

  - Ansul System Certification

  - Emergency Eyewash and Drench Shower Certification

- _____	Point by Point Controls Verification Letter

- _____	“Warranty, Training and Equipment Transfer File” including the following items:

- Master List of each warranty

- Original copy of  signed warranties as listed on Master List

- Copy of construction manager, general contractors, and subcontractors warranties with their phone number and address

- List of training as per specifications including video of the training and training sign-in sheets.

- List of portable equipment and its cost being transferred to school/maintenance department.

- Inventory list of all equipment.

- _____	Original certifications of the following:

  - Engineer approval of HVAC Test and Balance Report and final Test and Balance Report by test and balance company.

  - HVAC controls test with point to point validation

  - Elevator inspection report from state

  - Fire alarm tests report

  - Boiler inspection report from state

  - Paint manufacture,  paint color codes, and color schedule

  - Division 27

- copies of initial testing

- preliminary system performance testing

- preliminary equalization of completed systems

- final proof of performance testing of completed system

  - Water

- HVAC Water treatment test report

- Back Flow Certification

- Drinking Water Microbial Sample Collection & Laboratory Report

- _____	Provide the following OEF and AIA Forms:

  - OEF 110A Project Implementation Information

  - OEF 110B Certificate of Occupancy

  - OEF 208 Letter of Transmittal

  - OEF 208A Facility Space Chart/Net and Gross Square Footage

  - OEF 209 Certificate of Final Completion

  - AIA G704 - 2000 Certificate of Substantial Completion

  - FCO 564 PS Cost of Construction (for new schools, replacement schools or addition to existing school only)

- _____	Copies of completed project plaques, all inspection requests, and permit

- _____	Signed transmittal of attic stock delivered to facility

If you have any questions regarding the requested items listed above, please contact the project coordinator.