Facilities Design and Construction

# Project Closeout checklist

The following items shall be included with the final Certificate for Payment.  All documents listed below shall be provided on duplicate thumb drives or via shared link.

- _____ 	Contractor’s Guarantee (format as shown in specifications and on Contractor’s letterhead). The guarantee shall be for the period of one year from the date of final Substantial Completion (notarized).

- _____ 	Certified list of subcontractors and material suppliers for final payment (notarized) and master list of subcontractors and material suppliers’ spreadsheet.

- _____ 	Waivers of Claim for Contractor (notarized).

- _____ 	Consent of Surety to Final Payment for the Contractor (AIA G707), if bonded.

- _____ 	Letter certifying payment of all applicable taxes by general contractor.

- _____ 	Assignment of Antitrust Claims.

- _____ 	Certificate of Insurance with letter certifying insurance will remain in force.

- _____ 	Absence of Asbestos Friable Materials Certification from CM for the roof, plumbing, mechanical and electrical (notarized).

- _____ 	Specifications and record drawings As-Built files shall include:

- one electronic copy in CAD and one electronic copy in PDF. Both PDF and CAD individual files shall be named as per the contract documents index. All disciplines will be grouped within a folder. Within each folder, all pages will be an individual file. No contractor red lines accepted. All files should be labeled As-builts.

- Copy of specifications.

- _____	Florida Inventory School House (FISH) drawings (provided by designer).

- _____	One copy of the following certifications/reports:

  - Fire Alarm Certificate of Completion Report

  - Deluge System

  - Fire Protection System (aboveground and underground piping)

  - Ansul System Certification

  - Emergency Eyewash and Drench Shower Certification

  - Lightning Protection Certification UL96A (Master Label Certificate)

  - Engineer approval of HVAC Test and Balance

  - HVAC controls test with point-to-point validation

  - Elevator Inspection Report from the state

  - Boiler Inspection Report from the state

  - Generator Report

- _____	Point by Point Controls Verification Letter

- Warranty, training and equipment transfer file including the following items:

- Master list of each warranty.

- Subcontractor/manufacturer warranties on company letterhead as listed on Master List.

- List of training as per specifications including videos of the training and training sign-in sheets.

- List of portable equipment and its cost being transferred to the school/Maintenance Department.

- Inventory list of all equipment.

- _____	Material color list:

- Paint/coating manufacturer, paint color codes and color schedule (use PCS template).

- Digital color board with product information including product line, color and location (walls, doors, etc.).

- _____  Testing Reports of the following:

- Division 27:

- Copies of initial testing

- Final System Performance testing

- Water:

- HVAC Water Treatment Test Report

- Backflow Certification

- Drinking Water Microbial Sample Collection and Laboratory Report (Bac-T)

- _____	Provide the following fully executed OEF and AIA Forms for large projects with a PAE:

  - OEF 110A Project Implementation Information

  - OEF 110B Certificate of Occupancy

  - OEF 208 Letter of Transmittal

  - OEF 208A Facility Space Chart/Net and Gross Square Footage

  - OEF 209 Certificate of Final Completion

  - PCS Certificate of Final Completion (for smaller projects that do not have an Architect)

  - AIA G704 - 2000 Certificate of Substantial Completion

  - PCS Substantial Completion (for smaller projects that do not have an Architect)

  - FCO 564 PS Cost of Construction (for new schools, replacement schools or addition to existing schools only)

  - OEF LCCA-1 Life Cycle Cost Analysis

- _____	Copies of completed project placards, all inspection requests and reports and miscellaneous permits  (ROW, FDEP, SWFWMD, NPDES, etc.) punch lists.

- Permit Placard

- Inspection Reports (including Threshold Reports, if applicable).  File names shall start with the discipline followed by the number (example: Electrical 001 and Mechanical 001).

- Miscellaneous Permits:

- FDEP

- NPDES

- ROW/Easements

- SWFWMD

- Utility

- Signed off copies of punch lists.

- NPDES documents:

- Weekly reports

- Rain chart

- Change Certificate

- Signed and marked up SWPPP drawings

- Notice of Termination (if applicable)

- _____	Signed transmittal of attic stock delivered to facility.

- _____ Project documentation shall be provided on a thumb drive or via shared link for PCS Document Center:

- PDF of all RFI’s with responses

- PDF of all ASI’s

- PDF of all product submittals and shop drawings

- PDF of all Operations and Maintenance Manuals

- PDF and JPEG of all project photos (jobsite and aerial)

- PDF of all meeting minutes

If you have any questions regarding the requested items listed above, please contact the project coordinator.

***End of Section***