
554.103 Boiler code
(2) The installer of any boiler placed in use in this state after January 1, 2018, must, before installing the boiler, apply on a form adopted by rule of the department for a permit to install the boiler from the chief boiler inspector. The application must include the boiler's A.S.M.E. manufacturer's data report and other documents required by the State Boiler Code before the boiler is placed in service. The installer must contact the chief boiler inspector to schedule an inspection for each boiler no later than 7 days before the boiler is placed in service.
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