| Revision History |  |
| --- | --- |
| Revision Date | Section/Nature of Revision |
| 7/23/2019 | Document issued |

PART 1 –  GENERAL

1.1       DESCRIPTION

- Furnish and install Plexitrac Accelerator Running Track Surfacing as manufactured by California Products Corporation on the accepted asphalt pavement.

1.2	RELATED SECTION

- References:

- American Sports Builders Association (ASBA)

- National Federation of State High School Associations (NFHS)

  - QUALITY ASSURANCE

- All liquid materials shall be from a single source and manufactured for the purpose of running track surfacing construction.

- The Contractor shall record the batch number of each product used on the site and maintain it throughout the warranty period.

- The Contractor shall provide the owner, an estimate of the volume of each liquid product and the weight of the rubber granule to be used on site.

- The installer shall be an authorized applicator of the specified surface system.

- The manufacturer’s representative will be available to help resolve material issues.

1.4	SUBMITTALS

- Manufacturer’s specifications for components and system.

- Representative sample of the system to be installed with appropriate labeling for identification.

- Current material Safety Data Sheets (MSDS) for the liquid components.

- Current authorized applicator certificate from the surface system manufacturer.

- A certificate from the manufacturer of the binders and coatings stating that the materials have been produced specifically for the use in sports surfacing construction.

- A complete list of materials intended to be used in the construction of the running track system.  All liquid quantities will be prior to dilution.

- A test report that the ½“ system has been tested to I.A.A.F. standards for force reduction and modified vertical deformation.  Force reduction shall be 35-50%.  Modified vertical deformation shall be 0.6-1.8 mm.

- Reference list from the installer of at least five Projects of similar scope done the past 3 years.

- Product Substitution: if other than the product specified, the Contractor shall submit at least 7 days prior to the bid date a complete typed list of proposed substitutions with sufficient data, drawings, samples and literature to demonstrate that the proposed substitution is of equal quality and utility to that originally specified.  Information must include a QUV test of at least 1,000 hours and I.A.A.F. test information for the system to be installed.

1.5	MATERIAL HANDLING AND STORAGE

- Store material in accordance with manufacturer’s specifications and MSDS.

- Deliver products to the site in original, unopened containers with labels attached.

- All surfacing materials shall be nonflammable.

1.6	GUARANTEE

- The installer and the materials manufacturer shall supply a warranty covering labor and materials respectively.  The warranty period shall be for 1 year.

1.7	INSTALLER QUALIFICATIONS

- Installers shall be regularly engaged in the construction and surfacing of running tracks.

- Installer shall be an authorized applicator of the specified system.

- Installer shall be a builder member of the ASBA.

1.8	MANUFACTUER QUALIFICATION

- Material supplier shall certify that the materials provided are manufactured specifically for construction and surfacing of running tracks.

- System manufacturer shall be a US owned company that has been continuously engaged in the business of track surfacing materials for at least 10 years.

- Manufacturer shall be a member of the ASBA.

- System manufacturer shall have a designated representative available for site inspection.

PART 2 – PRODUCT

2.1	ACCEPTABLE MANUFACTURER

- Manufacturer: California Products Corporation, Andover, MA. Email: www.plexitrac.com

- Product Substitution:  If other than the product specified, the Contractor shall submit at least 7 days prior to the bid date a complete typed list of proposed substitutions with sufficient data, drawings, samples and literature to demonstrate that the proposed substitution is of equal quality and utility to that originally specified.  Information must include a QUV test of at least 1,000 hours and I.A.A.F. test information for the system to be installed.

- Any materials used must be an emulsion/water-based product.  Any products which require solvents such as MEK, Butyl Cellusolve or Acetone for clean up or mixing are not acceptable.

- Materials must have a VOC less than 150g/lt. for binder products.  Topcoats shall have a VOC of less than 100g/lt. measured by EPA method 24.

- Materials may not have a flash point of less than 200°F.

2.2	MATERIALS

- Court Patch Binder: shall comply with specification 10.14 of California Products Corporation.  100% acrylic resin blended with Portland cement and silica sand.

- Percent solids by weight (minimum) 46%.

- Weight 8.7-8.9 lbs./gallon.

- CP-4125: Latex Emulsion Primer.  SBR emulsion.

- Percent solids by weight (minimum) 50%.

- Weight 8.35 lbs./gallon.

- Plexitrac Binder: shall comply with specification 10.73 of California Products Corporation.

- High Viscosity Polyresin Blend:

- Percent solids by weight (minimum) 44.7%.

- Weight 8.47 lbs./gallon.

- Plexicolor Pigment: water-borne dispersed pigment for enhanced color.

- Plexitrac Coating: shall comply with specification 10.70 of California Products Corporation.

- Highly Pigment Polyresin Topcoat.

- Percent solids by weight (minimum) 47.4%.

- Weight 8.45 lbs./gallon.

- California Line paint: shall comply with specification 10.4 of California Products Corporation.

- 100% acrylic resin containing no alkyds or vinyl copolymer constituents.

- Percent solids by weight (minimum) 53.1%.

- Weight 11.6 lbs./gallon.

- Rubber Granules: specifically gradated 1-3MM SBR and/or EPDM particles for job mixing with the Plexitrac binder.

- Water: the water to be used in the mixture must be fresh and potable.

- The installer will provide to the Owner/Architect a proforma materials list prior to the installation of the volume of materials to be used on the Project.  The proforma will include:

- Surface area to receive the surfacing system ______ square yards.

- Specified thickness ½“.

- Pounds of rubber 10.5 pounds sq./y SBR 5.0 pounds sq./y colored EPDM.

- Gallons of CP-4125 (undiluted) .04 gal./sq./y.

- Gallons of colored Plexitrac binder (undiluted) 1 gallon per 18 pounds SBR/1 gallon per 24 pounds EPDM minimum.

- Gallons of colored Plexitrac coating (undiluted) .1 gal./sq./y

- The installer will furnish the Owner/Architect with proof of delivery that the correct volume of product has been provided.  The installer will also verify that the same manufacturer has supplied all binders and coatings.

PART 3 – EXECUTION

3.1	WEATHER LIMITATIONS

- Ambient and surface temperatures must be 50°F. and rising.

- Installation should not be conducted during rainfall or when rainfall is imminent.

- Do not apply when surface temperature is in excess of 140°F.

  - SURFACE PREPARATION

- New asphalt shall be allowed to cure for a minimum of 14 days prior to the application of any surfacing materials.

- The surface must be thoroughly cleaned of all loose dirt and debris.

- Prior to the application of surface materials, the entire surface shall be flooded and checked for depressions or irregularities in the asphalt.  Any puddle area covering a nickel shall be marked and repaired with court patch binder, according to California Products specification 10.14.  After patching, the asphalt surface shall not vary more than ¼“ in 10’, measured in any direction.  Any depressions ¼“ or greater, shall be leveled using patch materials indicated.  Slopes shall meet the guidelines of the ASBA and NFHS.

3.3	RUNNING TRACK SURFACING INSTALLATION

- After curing and preparation, the asphalt shall be primed/tack coated with CP-4125 at the rate of .04 gal./sq./y by means of a dual diaphragm pump and spray unit.  Do not allow material to puddle on the asphalt surface.

- Apply dry 1-3 MM black SBRJ to the tack coated surface by mechanical spreader or by hand.  Avoid leaving dry rubber granules more than one layer thick.

- Apply Plexitrac binder at the rate of 1 gallon per 18 pounds of black SBR granule by means of a dual diaphragm pump and spray unit.  Care should be taken to uniformly spray the granule, so they are fully encapsulated.

- Apply additional layers of black SBR granule and Plexitrac binder until the specified thickness and weight of black rubber has been applied.  Each dry layer should be raked by hand to ensure uniformity of thickness and density.  In no case should a rubber layer be greater than 2.5 pounds /sq./y prior to Plexitrac binder application.

- Apply dry 1-3 MM colored EPDM granule at the rate not more than 2.5 pounds/sq./y.  Not less than two layers shall be applied.

- Apply Plexitrac binder at the rate of 1 gallon for 24 pounds of 1-3 MM colored EPDM granule.  Plexitrac pigment shall be added to each 55-gallon drum of Plexitrac binder for added UV stability.

- Prior to the application of Plexitrac coating and line marking, the surface shall be tested for the required depth using SMG FT-3 floor tester depth gauge.  The running track oval shall be tested in no less than 100 locations.  The tests shall be performed at the center of both the outer and inner lane, as well as the center of the oval.  At least 80% of the readings must meet the required depth, if not, additional layers of rubber and binder will be applied until the proper depth has been achieved.

- Apply Plexitrac coating at a total rate of .1 gallon per square yard.  Product shall be applied in two applications by a dual diaphragm pump spray unit.  One application shall be applied clockwise, the other counterclockwise.

3.4	MARKING AND MEASUREMENTS

- Wait 48 hours after surface completion before applying line marking.  The installer shall:

- Locate and establish all radius points.

- Establish and set all necessary control points.

- Layout all lines and markings to tolerances set forth by ASBA and governing body requirements.

- Prepare all necessary drawings.

- Provide all computations and measurements in organized form.

- Establish all locations on the curves using a transit or theodolite capable of reading direct to 20 seconds.

- Identify all markings, where appropriate, by painting the identification directly onto the track surface in 4” letters just below or in front of each mark in the right-hand portion of the lane.

- Paint all of the large, 3” high, lane numbers in two colors, utilizing shadowed backgrounds.

- All lines shall receive sufficient paint to assure complete opacity and uniformity of color.

- Paints shall be used directly from original containers and shall be thinned only when hot temperatures dictate thinning for smooth applications.

- Amount of paint used shall be as recommended by the manufacturer.

- The paint used shall be 100% acrylic latex line paint, Plexicolor line paint, made especially for the painting of lines on sports surfaces.

- All measurements shall be made by competent, experienced and fully qualified personnel.

- Upon completion of the track markings, a licensed professional Engineer or registered land surveyor shall furnish an acceptable letter of Certificate of Accuracy of the track markings and measurements.  This will also include copies of the computations, calculations and drawings that were used to obtain this accuracy.  The Engineer or surveyor should affix their stamp to the drawing and the certificate.

- The markings shall include all events and marks required or recommended by the National Federation of State High Schools, the NCAA, or the I.A.A.F. dependent on the end use of the facility.

  - PROTECTION

- During construction the owner is responsible for limiting access of nonconstruction personnel to the site.

- The Owner shall coordinate any irrigation of the fields with the installation contractor.

- The installer shall protect curbs, fences and other structures from overspray.

3.6	CLEANUP

- Remove all containers, surplus and debris and dispose of in accordance with local, state and federal regulations.

- Remove all spills and overruns.

- Leave site in a clean and orderly condition.

***END OF SECTION***