| MATRIX RESPONSIBILITIES |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ITEM | SYSTEM | SCOPE | DESIGN RESPONSIBILITY | PROCUREMENT RESPONSIBILITY | CONSTRUCTION RESPONSIBILITY |
| 1.00 | VOICE SYSTEM (TELEPHONE COMMUNICATIONS SYSTEM ALL AREAS) |  |  |  |  |  |
| 1.01 | RACEWAYS | Conduit, boxes, cable trays, etc. | A&E | CM | CM |
| 1.02 | INSIDE PREMISE WIRING | Structured cabling system, including patch cords | A&E | CM | CM |
| 1.03 | OUTSIDE PREMISE WIRING - CONNECTION TO BUILDING | Structured cabling system | A&E | CM | CM |
| 1.04 | OUTSIDE PREMISE WIRING FROM SERVICE PROVIDERS | Fiber and copper for services | A&E/TIS | SP | SP |
| 1.05 | PATCHING VOICE LINES | Labor only of patching at racks and work areas | A&E | CM | TIS |
| 1.06 | PHONE SWITCH | Equipment selection, sizing, equipment layout, RFP | A&E/TIS | TIS | CM |
| 2.00 | DATA SYSTEM (COMPUTER NETWORKS ALL AREAS) |  |  |  |  |  |
| 2.01 | RACEWAYS | Conduit, boxes, cable trays, etc. | A&E | CM | CM |
| 2.02 | INSIDE PREMISE WIRING | Structured cabling system, including patch cords | A&E | CM | CM |
| 2.03 | PATCHING DATA LINES | Labor only of patching at racks and work areas | A&E | CM | TIS |
| 2.04 | ACTIVE ELECTRONICS (NETWORKING EQUIPMENT, SWITCHES, ROUTERS, SERVERS, AND COMPUTERS) | Equipment selection, sizing, equipment layout, RFP | TIS | TIS | TIS |
| 2.05 | WIRELESS SURVEY | Modeling to predict location of WAPs, including measured survey after building shell is completed | A&E/TIS | NA | TIS |
| 2.06 | WAPs | Wireless access points, including installation labor, support materials, | A&E/TIS | TIS | CM |
| 3.00 | TELECOM ROOM OUTFIT |  |  |  |  |
| 3.01 | PLYWOOD AND WALL SLEEVES | Plywood and sleeves for cables | A&E | CM | CM |
| 3.02 | GROUNDING SYSTEM | Ground bar and ground bus | A&E | CM | CM |
| 3.02 | RACKS, EQUIPMENT CABINETS, WIRE MANAGERS, AND LADDER TRAY | Racks, AV Equipment Cabinet, and all passive elements | A&E | CM | CM |
| 4.00 | AV SYSTEMS |  |  |  |  |
| 4.01 | RACEWAYS | Conduit, boxes, cable trays, etc. | A&E | CM | CM |
| 4.02 | INSIDE PREMISE WIRING | Wiring for systems | A&E | CM | CM |
| 4.03 | ACTIVE ELECTRONICS | Projectors, Interactive TV, presentation control system, speaker, microphones, etc. | A&E | CM | CM |
| 4.04 | PROGRAMMING |  | NA | NA | CM |
| 5.00 | INTRUSION SECURITY SYSTEMS |  |  |  |  |
| 5.01 | RACEWAYS | Conduit, boxes, cable trays, etc. | A&E | CM | CM |
| 5.02 | INSIDE PREMISE WIRING | Cables for Intrusion systems | A&E | CM | CM |
| ITEM | SYSTEM | SCOPE | DESIGN RESPONSIBILITY | PROCUREMENT RESPONSIBILITY | CONSTRUCTION RESPONSIBILITY |
| 5.03 | ACTIVE ELECTRONICS | Control panels, end devices, etc. | A&E | CM | CM |
| 5.04 | LOCKING DEVICES | Magnets, electric mortise locks | A&E | CM | CM |
| 5.06 | PROGRAMMING | Subcontractor to contact TIS to get IP addresses for system | NA | NA | CM/TIS |
| 5.07 | PROGRAMMING | Subcontractor to contact Campus Police to gather User List and download devices/scripts to system 3 weeks prior to substantial completion. | NA | NA | CM/Campus Police |
| 5.08 | PROGRAMMING | Connection of existing and new systems if applicable. | NA | NA | CM |
| 6.00 | BUILDING CCTV |  |  |  |  |
| 6.01 | RACEWAYS | Conduit, boxes, cable trays, etc. | A&E | CM | CM |
| 6.02 | INSIDE PREMISE WIRING | Cables for cameras | A&E | CM | CM |
| 6.03 | ACTIVE ELECTRONICS | Cameras | A&E | CM | CM |
| 6.04 | SERVER | DW Spectrum® Licenses. DW-SPECTRUMLSC001; Single DW Spectrum® Recording License. DW-SPECTRUMLSC004; Four (4) DW Spectrum® Recording Licenses. DW-SPECTRUMLSC010; Ten (10) DW Spectrum® Recording Licenses. DW-SPECTRUMLSC020; Twenty (20) DW Spectrum® Recording Licenses. DW-SPECTRUMLSC050; Fifty (50) DW Spectrum® Recording Licenses. DW-SPECTRUMLSC100; One Hundred (100) DW Spectrum® Recording Licenses. VMS Server will be purchased by contractor, unless current system has enough capacity. Server to be sized with Digital Watchdog. | A&E/CM | CM | CM |
| ITEM | SYSTEM | SCOPE | DESIGN RESPONSIBILITY | PROCUREMENT RESPONSIBILITY | CONSTRUCTION RESPONSIBILITY |
| 6.05 | PROGRAMMING | Contractor will get IP addresses for the system from Safety and Security Alicia Pearson 727-547-7100 ext. 4563 or 727-902-5078 pearsona@pcsb.org and/or TIS team Steven Harvey, 727.588.6000 Ext.1338 Chris Bryce, 727.588.6000 Ext.1337 Antoine Foster, 727.588.6592. Contractor will send list of the Camera IP once they are programed to TIS so it can be set up on the network. Contractor will verify with Safety and Security that all cameras are online. | CM | CM | CM/TIS/ SAFETY and SECURITY |
| 7.00 | ACCESS CONTROL SYSTEMS |  |  |  |  |
| 7.01 | RACEWAYS | Conduit, boxes, cable trays, etc. | A&E | CM | CM |
| 7.02 | INSIDE PREMISE WIRING | Cables for cameras and card access | A&E | CM | CM |
| 7.03 | ACTIVE ELECTRONICS | Cameras, VMS, Access control panels, readers, etc. | A&E | CM | CM |
| 7.04 | LOCKING DEVICES | Magnets, electric mortise locks | A&E | CM | CM |
| 7.05 | PROGRAMMING |  | NA | NA | CM |
| 8.00 | EMERGENCY POWER BACKUP (UPS) FOR ACTIVE EQUIPMENT |  |  |  |  |
| 8.01 | POWER WIRING | Conduit, cables, and circuits | A&E | CM | CM |
| 6.02 | POWER DISTRIBUTION UNITS | ePDUs to be installed in racks and cabinets | TIS | TIS | CM |
| 6.03 | ACTIVE EQUIPMENT - WORK AREAS | UPS units in work areas | TIS | TIS | TIS |
| 6.04 | ACTIVE EQUIPMENT - SMALL UNITS < 10KVA | UPS units in racks or cabinets | TIS | TIS | CM |
| 9.00 | FIRE ALARM AND BUILDING MANAGEMENT SYSTEM |  |  |  |  |
| 7.01 | RACEWAYS | Conduit, boxes, cable trays, etc. | A&E | CM | CM |
| 7.02 | INSIDE PREMISE WIRING | Cabling, grounding | A&E | CM | CM |
| 7.03 | ACTIVE ELECTRONICS | Data gathering panels, sensors, etc. | A&E | CM | CM |
| 7.04 | PROGRAMMING |  | NA | NA | CM |
| 10.00 | DISTRIBUTED ANTENNA SYSTEM (PUBLIC SAFETY) |  |  |  |  |
| 8.01 | RACEWAYS | Conduit, boxes, cable trays, etc. | A&E | CM | CM |
| 8.02 | INSIDE PREMISE WIRING | Cabling, grounding | A&E | CM | CM |
| ITEM | SYSTEM | SCOPE | DESIGN RESPONSIBILITY | PROCUREMENT RESPONSIBILITY | CONSTRUCTION RESPONSIBILITY |
| 8.03 | ACTIVE ELECTRONICS | Head end system, BDA, TX/RX, and antennas | A&E | CM | CM |
| 8.04 | PROGRAMMING |  | NA | NA | CM |
| 11.00 | DISTRIBUTED ANTENNA SYSTEM (CELL PHONES) |  |  |  |  |
| 9.01 | RACEWAYS | Conduit, boxes, cable trays, etc. | TIS | TIS | TIS |
| 9.02 | INSIDE PREMISE WIRING | Cabling, grounding | TIS | TIS | TIS |
| 9.03 | ACTIVE ELECTRONICS | Head end system, BDA, TX/RX, and antennas | TIS | TIS | TIS |
| 12.00 | LOCKDOWN NOTIFICATION SYSTEM (Vendor shall be Bosch Certified) |  |  |  |  |
| 12.01 | RACEWAYS | Conduit, boxes, cable trays, etc. | A&E | CM | CM |
| 12.02 | INSIDE PREMISE WIRINGS | Cabling, grounding | A&E | CM | CM |
| 12.03 | ACTIVE ELECTRONICS | Head end system, strobes, Lockdown Button, power extender interface to FACP, server, Bosch lockdown panel, IP control panel controller (Bosch B6512), Bosch B208 Octo-input Module, all interface | A&E | CM | CM |
| 12.04 | PROGRAMMING | Programming and interface to FACP | NA | NA | CM |
| 13.00 | CRISIS ALERT (CENTEGIX IS THE APPROVED VENDOR) |  |  |  |  |
| 13.01 | RACEWAYS | Conduit, boxes, cable trays, etc. | CENTEGIX | CENTEGIX | CENTEGIX |
| 13.02 | INSIDE PREMISE WIRINGS | Cabling, grounding | CENTEGIX | CENTEGIX | CENTEGIX |
| 13.03 | ACTIVE ELECTRONICS | Antennas, receivers, POE injector (CLOUD BASED) | CENTEGIX | CENTEGIX | CENTEGIX |
| 13.04 | PROGRAMMING | Programming | CENTEGIX | CENTEGIX | CENTEGIX |

NOTES:	A&E: ARCHITECT AND ALL CONSULTANTS WORKING UNDER ARCHITECT – (ENGINEER)

CM: CONSTRUCTION MANAGER/CONTRACTOR

SP: SERVICE PROVIDER

VENDOR: A SYSTEM INSTALLER HIRED DIRECTLY BY THE TIS FOR A SPECIFIC SYSTEM

NA: NOT APPLICABLE